SECTION 07 24 13 – AKROGOLD DEFS

PART 1- GENERAL

SUMMARY

Section Includes:  Work includes all labor, materials, and equipment necessary to install all aspects of the AkroGold Direct Applied Exterior Finishing System (DEFS).

Related Sections [Delete unneeded sections]

    - 03 30 00 – Cast-in-Place Concrete

    - 04 20 00 – Unit Masonry

    - 05 40 00 – Light gauge cold-formed steel framing

    - 06 11 00 – Wood Framed Construction

    - 06 16 00 – Sheathing

    - 07 90 00 – Joint Sealers

    - 09 29 00 – Gypsum Board

REFERENCES [Delete unneeded references]

ASTM B117 – Salt Spray Testing

ASTM C1325 – Cement Board Sheathing

ASTM C150 – Portland Cement Specification

ASTM C297 – Flatwise Tensile Strength Testing

ASTM C1177 – Glass Mat Gypsum Sheathing

ASTM D968 – Abrasion Resistance Testing

ASTM D1784 – Specifications for rigid Poly Vinyl Chloride (PVC) and Chlorinated Poly Vinyl Chloride (CPVC) compounds

ASTM D2247 – Water Resistance Testing

ASTM D3273 – Test Method for resistance to growth of mold on surface coatings

ASTM E84 – Flame Spread and Smoke Density Testing

ASTM G23 – Weatherometer Testing

ASTM C920 – Elastomeric Joint Sealants

Omega AkroGold Systems Details (AGS)

system description

General:  The AkroGold System is a direct applied system that is comprised of a water-resistive barrier, approved sheathing, base coat with embedded mesh, and a finish coat.

Application Methods:  The AkroGold systems are applied directly to a structure at the construction site or may be applied to prefabricated panels.

Design Requirements and Limitations: [This section is primarily for reference and may be deleted.]

    - Substrates:  Compatible substrates with the AkroGold System

      - Exterior grade glass mat gypsum sheathing conforming to ASTM C1177.

      - Cement board sheathing complying to ASTM C1325.

    - Inclined Surfaces:  Slope a minimum of 6:12.  Do not use in horizontal applications or in locations where water may collect on the surface.  The length of inclined surfaces shall not exceed 12 inches (305 mm).

    - Deflection of substrate system shall not exceed L/360.

    - Expansion Joints:  Joints must be installed as specified by the engineer, Architect, designer, builder or sheathing manufacturer, in that order.  At a minimum, the following locations should have expansion joints:

      - Where expansion joints occur in the substrate system.

      - Where building expansion joints occur.

      - Where prefabricated panels abut one another.

      - Where the AkroGold System abuts dissimilar materials.

      - Where there is a change in substrates.

      - Where structural movement is anticipated.

    - Control Joints:  Joints must be installed as specified by the engineer, Architect, designer, or builder, in that order.  Control joints are recommended a minimum of every 30 linear feet vertically and horizontally.

    - Terminations

      - A minimum gap of ¾-inch (19 mm) shall be maintained at all DEFS to DEFS terminations.  Final design will depend on structural and sealant requirements.

      - A minimum gap of ½-inch (13 mm) shall be maintained at all DEFS to dissimilar materials, penetrations, expansion joints, and control joints.  Final design will depend on structural and sealant requirements.

      - All exposed board edges shall be encased in an approved vinyl trim.

    - Sealant and backer rod.

      - Sealants used in conjunction with this system shall be approved by Omega Products.

      - Shall be compatible with all materials that sealant will bond to.

      - Backer rod used shall be the closed cell type.

Performance [This section is primarily for reference and may be deleted.]

    - Water Resistance:  No deleterious effects following a 42 day exposure to a relative humidity of approximately 98 to 99 percent, per ASTM D2247.

    - Salt Spray:  No deleterious effects following 1000 hours per ASTM B117.

    - Accelerated Weathering:  No deleterious effects following 2,000 hours per ASTM G23.

    - Freeze Thaw:  No deleterious effects following 90 cycles.

    - Abrasion Resistance:  No deleterious effects following the dropping of 500-liters of silica sand from a height of 1-inch (25mm), per ASTM D968.

    - Surface-Burning Characteristics:  Insulation board, adhesives, base coats, and finish coats with flame-spread index of 25 or less and smoke-developed index of 450 or less, per ASTM E84.

submittals

Product Data:  All product data sheets, details, and warranty information that pertain to the project in accordance with Section 01 30 00 Submittal Procedures.

Samples:  Submitted upon request.

    - Samples of the finish coat shall be of an adequate size as required to represent each color and texture to be utilized on the project and produced using the same techniques and tools required to complete the project.

    - Retain approved samples at the construction site throughout the application process.

Quality Assurance

Qualifications:

    - Manufacturer:  System component materials shall be manufactured or approved by Omega Products International and shall be distributed by the same or its authorized dealers.

Plastering Contractor:

    - Shall be knowledgeable in DEFS installation with documented experience.

    - Shall provide proof of current contractor’s license and bond where required.

On-Site Mockups:  Produced upon request.

    - Prior to commencement of work, provide a mockup for approval.

    - Mockup suitable to represent the products to be installed for each color and texture constructed using the same tools and techniques to be utilized on the project.

    - Retain approved mockup at job site throughout the application process.

      - Where acceptable to the Architect, approved mockups may become part of the completed work if undisturbed at time of substantial completion.

DELIVERY, STORAGE, AND HANDLING

Delivery:  Deliver all materials to the construction site in their original, unopened packaging with labels intact.

Inspection:  Inspect the materials upon delivery to ensure that specified products have been received.  Report defects or discrepancies to the responsible party according to the construction documents; do not use reported material for application.

Storage:  Store all products per manufacturer’s recommendations.  Generally, store materials in a cool, dry location; away from direct contact with the ground and/or concrete; out of direct sunlight; and protect from weather and other damage.

Project Conditions

Environmental Requirements:  Follow product data sheet’s recommendations for environmental conditions and surface preparation.

    - Temperatures:  Before, during and following the application of the base coat and finish, the ambient and surface temperatures must remain above 40°F (4°C) for a minimum period of 24 hours.   Protect materials from uneven and excessive evaporation, especially during hot, dry, windy weather.   Protect from freezing for a period of not less than 24 hours after application has occurred.

    - Substrates:  Prior to installation, inspect the wall for surface contamination or other defects that may adversely affect the performance of the materials, and ensure that the wall be free of residual moisture.  Do not apply AkroGold DEFS to substrates whose temperatures are less than 40°F (4°C) or contain frost or ice.

    - Inclement Weather:  Protect applied material from inclement weather until dry.

Existing Conditions:

    - Jobsite Resources:  Provide access to electrical outlets, clean, potable water, and a suitable work area at the construction site throughout the application of the AkroGold System.

Sequencing and Scheduling

Sequencing:  Coordinate the installation of the AkroGold System with all other construction trades.

Staffing:  Provide sufficient manpower to ensure continuous operation, free of cold joints, scaffolding lines, variations in texture, etc.

Warranty

System Warranty:  Submit documentation on AkroGold’s standard system warranties.  At completion of work, provide written system warranty documentation.

Warranty Length: [Five (5)] [Seven (7)] [Eight (8)] [Ten (10)] years commencing at the time of substantial completion.  [See Omega Product’s System Warranties for more information.  The warranty length depends upon the combination of products used in the system.]

Maintenance

The following materials shall be presented to the owner following the application of the AkroGold System:

    - One container of finish for each color and texture utilized on the project.

    - One [pail] [bag] of base coat of each utilized on the project.

    - Twenty-five ft2 (2.3m2) of reinforcing mesh utilized on the project.

    - A maintenance program for finishes as required.

PART 2 - PRODUCTS

- Manufacturers

  - Acceptable Manufacturer: Omega Products International.

- Compatibility

  - Compatibility:  Provide water-resistive barrier, fasteners, reinforcing meshes, base and finish coat systems, sealants, and accessories that are compatible with one another and with substrates and approved for use by Omega Products International for the project.

- WATER-Resistive Barrier

  - [Optional water-resistive barrier behind the sheathing to help prevent moisture intrusion.  Choose one of the water-resistive barriers and delete the remaining.  Delete this section if not used.]

[Two layers of Grade D kraft building paper complying with UBC Standard 14-1.]

[One layer of Grade D kraft building paper with a 60-minute water-resistance rating.]

[Equivalent material recognized in a current evaluation report as complying with the ICC-ES Acceptance Criteria for Water-resistive Barriers (AC38).]

- Sheathing

  - [Choose one or more of the following sheathing options and delete the others.]

[Gypsum Board: Glass mat faced, water-resistant treated core gypsum sheathing must comply with ASTM C1177 and be recognized in a current evaluation report.]

[Cement Board: Minimum ½-inch-thick (12.7 mm) cement board complying with ASTM C 1325 and recognized in an ICC-ES evaluation report.]

- Reinforcing Mesh

  - AkroFlex Meshes:  Are alkali-resistant woven glass fiber fabrics specially designed to be used with AkroGold DEF System.

    - Standard Mesh (4.2oz): For field locations.

    - Starter Mesh (4.2 oz.): For back wrapping, board joints, and detail work.

- Base Coat

  - [Choose one or more of the base coat options and delete the remaining.]

[StyroGlue DryBond:  A factory-blended, polymer-modified cement-based material.]

[StyroGlue:  A 100% polymer-based base coat and adhesive, which is field mixed in a 1:1 ratio by weight portland cement complying with ASTM C150.]

[StyroGlue Plus:  A 100% polymer-based, fiber reinforced, water-resistant base coat and adhesive, which is field mixed in a 1:1 ratio by weight with portland cement complying with ASTM C150.] [StyroGlue Plus is recommended for those areas where high moisture is expected, such as parapet applications.]

[StyroGlue TF:  A 100% acrylic water-based, fibered, non-cementitious base coat manufactured to be flexible and crack-resistant.]

[Optional OmegaCure may be used to accelerate the hydration of the cementitious base coats.  Delete this section if not used.]

[OmegaCure: A non-corrosive liquid admixture for accelerating the hydration of cement plaster.]

- Accessories

[Delete the accessories from this section as needed]

  - Caulking:  Must be compatible with DEFS components and adjacent materials, be approved by Omega Products, and must meet ASTM C920 (Type S or M, minimum Grade NS, minimum Class 25, and Use O sealant).

  - Flashing:  Flashing complying with UBC Section 1404.2, IBC Section 1405.3 or IRC Section R703.8, as applicable, must be provided.  Rigid flashings must be sloped towards the exterior, with an upturned leg on the interior side and at the ends, and must extend beyond the surface of the exterior wall.

  - Fasteners:  Nails, staples, or screws used to rigidly secure associated accessories shall be corrosion-resistant and suitable for the substrate and/or framing.

  - Trim:  Fabricated from high-impact PVC.

- Primer

  - [Primer is optional but is recommended.  Delete this section if primer will not be used on the project.  The use of primer will increase AkroGold’s standard warranty to 8 years.]  AkroFlex primer manufactured by Omega Products International.

- Finishes

  - [Choose one or more of the following finishes and delete the remaining ones]

[AkroFlex <insert finish name>:  100% acrylic-based finish manufactured by Omega Products International.]

[AkroSil <insert finish name>: Silicon-enhanced acrylic-based finishes manufactured by Omega Products International.]

[AkroLastic <insert finish name>:  Elastomeric acrylic-based finishes manufactured by Omega Products International.]

[AkroLastic ProPlus <insert finish name>:  Premium elastomeric acrylic-based finishes manufactured by Omega Products International.]

  - Color and Texture:  Color and finish texture shall be as selected by the architect.

- Mixes

  - All material and tinting mixing instructions are contained in the appropriate Product Data Sheet written by Omega Products International.

PART 3 - EXECUTION

- EXAMINATION

Framing: Stud size, spacing, and depth shall meet minimum code and sheathing manufacturer requirements.  Framing shall be sufficiently straight and true to ensure the sheathing surface requirements can be met.

Substrates:

    - Acceptable substrates must be securely fastened per applicable building code requirements.

    - Acceptable substrates and adjacent materials must be dry, clean, and sound.  Substrate surface must be flat, free of fins or planar irregularities greater than ¼ inch in 10 feet (6mm in 3m).

Flashings:  All flashing around windows, at deck attachments, utility penetrations, roof lines, etc. and all kick-out flashing must be properly installed prior to application of AkroGold System.

Unsatisfactory conditions shall be reported to the general contractor and/or builder and/or Architect and/or owner.  Do not proceed until all unsatisfactory conditions have been corrected.

PreparatioN

Substrate:  Clean the substrate to which the AkroGold System is to be applied, ensuring that there are no foreign materials present; including, but are not limited to, oil, dirt, dust form release agents, efflorescence, paint, wax, water repellants, moisture, frost, and or extended nails.

Surrounding Areas:  Protect surfaces near the work of this section from damage, disfiguration, and overspray.  Mask off all dissimilar materials.

Installation, General

General Installation:  Refer to the appropriate manufacturer’s product data sheet for additional installation requirements and recommendations.

Installing Trim

Install square and drip edge track according to manufacturer’s written instructions and/or specifications.

Installing WATER-Resistive Barrier [This section is optional and should be deleted if a water-resistive barrier is not used.]

Water-Resistive Barrier: Apply water-resistive barrier complying with [Section 1404.2 of the IBC] [Section R703.2 of the IRC].

Installing Sheathing

Install sheathing per local code and manufacturer’s instructions.

Installing Base coat And Mesh

Openings and Penetrations:  Apply minimum 9.5 x 12-inch (240 x 300mm) diagonal strips of starter mesh at corners of all penetrations.  Embed mesh in the base coat while avoiding wrinkles.

Board Joints: Apply minimum of 9.5-inch (240 mm) wide strips of mesh at all board joints.  Embed mesh in the base coat while avoiding wrinkles.

Substrate:  Once the base coat from the board joints, openings, and/or penetrations applications has dried, apply the mesh to the entire field.  Use a double layer of mesh at all inside and outside corners and overlap a minimum of 2-1/2 inches (63.5mm) at all mesh joints.  Embed mesh in the base coat while avoiding wrinkles.

Drying:  Allow base coat to fully dry a minimum of 24 hours before application of primer or finish.

Installing Primer [This section is optional and should be deleted if primer is not used.]

Apply AkroFlex Primer with a brush, roller, or sprayer.  Avoid puddling.

Installing Finish Coat

General:  Apply per approved finish product data sheet.

Verification:  Verify the desired color and texture match the approved sample and/or mockup prior to installation.

CLEANING

Cleaning:  Remove any and all materials used, overspray from adjacent surfaces, and all protective masking.

Protection

Protection:  Protect applied material from inclement weather until dry and prevent it from freezing for a minimum of 24 hours after application and/or until dry.  Refer to product data sheet for additional requirements.

END OF SECTION 07 24 13

# Text boxes

This document contains Omega Products International’s specification for the AkroGold Direct Applied Exterior Finishing System (DEFS) for use on soffits, screen walls, and parapets.  The AkroGold System is a direct applied system that is comprised of a water-resistive barrier (optional), approved sheathing, base coat with embedded mesh, and a finish coat.

The specification is intended to be tailored by the design professional to suit the project requirements and follows the Construction Specification Institute’s (CSI) MasterFormat (2016 Ed.) and SectionFormat (2009 Ed.).  There are locations where information needs to be added or deleted depending upon project needs.  These locations are indicated using the following formatting:

[Notes]	Notes that provide instructions or guidance.  These should be deleted when no longer needed.

[Options]	Possible options for the system.  Choose one, or in some cases more than one can be selected, and delete the remaining options.  Delete the brackets and un-bold the selected option(s).

<Text>	Locations where text needs to be inserted.

This specification should be used along with other AkroGold documentation including the standard system details (AGS) and individual product data sheets.  Please visit www.omega-products.com to obtain these documents and for additional information on all the Omega wall systems.

Mar 2023

AkroGold Soffit and Screen Wall System Specification

OP911